## 3283
COUNTER | ISC | SECTION | BILL | PAGE NO | ITEM NO | DOC REF | PAY REF | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | 472 | 1 | 1 | 67 |  |  |  | SECTION NO. 1 | H1 | 0
2 | 473 | 1 | 1 | 67 |  |  |  | PRELIMINARIES | H1 | 0
3 | 474 | 1 | 1 | 67 |  |  |  | BILL NO. 1 | H1 | 0
4 | 475 | 1 | 1 | 67 |  |  |  | PRELIMINARIES AND GENERAL | H1 | 0
5 | 1422 | 1 | 1 | 67 | 1 |  |  | Preliminaries and General - Time | Item | 1 |  | 0
6 | 1423 | 1 | 1 | 67 | 2 |  |  | Preliminaries and General - Fixed | Item | 1 |  | 0
7 | 1424 | 1 | 1 | 67 | 3 |  |  | Preliminaries and General - Value | Item | 1 |  | 0
9 | 6 | 2 | 1 | 68 |  | 52 |  | SECTION NO. 2 | H1 | 0
10 | 7 | 2 | 1 | 68 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
11 | 8 | 2 | 1 | 68 |  | 52 |  | BILL NO. 2 | H1 | 0
12 | 9 | 2 | 1 | 68 |  | 52 |  | DEMOLITIONS | H1 | 0
13 | 1562 | 2 | 1 | 68 |  | 59 |  | PREAMBLES | H2 | 0
14 | 1563 | 2 | 1 | 68 |  | 59 |  | For preambles see Model Preambles for Trades and Supplementary Preambles as specified in the trades |  | 0
15 | 1564 | 2 | 1 | 68 |  | 59 |  | SUPPLEMENTARY PREAMBLES | H2 | 0
16 | 1565 | 2 | 1 | 68 |  | 59 |  | General notes to demolitions and alterations | H3 | 0
17 | 1566 | 2 | 1 | 68 |  | 59 |  | Before starting work, the Contractor shall carry out a thorough survey and examination of building or structures to be demolished. The Contractor is to locate and mark the positions of existing services affected by the demolition work. |  | 0
18 | 1567 | 2 | 1 | 68 |  | 59 |  | The Contractor is to provide all necessary dust or waterproof screens, tarpaulins, barriers, etc., to render the existing building other than the sections being altered, entirely dust proof and weatherproof for the protection of the occupants to the satisfaction of the Principal Agent and remove when directed. |  | 0
19 | 1568 | 2 | 1 | 68 |  | 59 |  | Screens or barriers specifically required by the Principal Agent have been separately measured and only screens or barriers instructed in writing by the Principal Agent will be paid for on a measured basis. |  | 0
20 | 1569 | 2 | 1 | 68 |  | 59 |  | The Contractor is to provide suitable and substantial timber for and execute all needlings, shoring or strutting, screens, scaffolds, etc., necessary to ensure the stability of the structure and all works during the breaking down, alterations or building up on the Works. |  | 0
21 | 1570 | 2 | 1 | 69 |  | 60 |  | View site | H3 | 0
22 | 1571 | 2 | 1 | 69 |  | 60 |  | Before submitting his tender the contractor shall visit the site and satisfy himself as to the nature and extent of the work to be done and the value of the materials contained in the buildings or portions of the buildings to be demolished. No claim for any variations of the contract sum in respect of the nature and extent of the work or of inferior or damaged materials will be entertained |  | 0
23 | 1572 | 2 | 1 | 69 |  | 60 |  | Project specification | H3 | 0
24 | 1573 | 2 | 1 | 69 |  | 60 |  | Note that this is mainly the gutting or partial gutting of existing shops and mall areas and all services that supply or service the shopping centre must stay intact and must be blanked off or isolated in order for the shopping centre to stay fully serviced and operational Items referred to are: 1 Electrical 2 Fire water (Sprinklers and fire hose reel supply) 3 Water 4 Sewer All mentioned services must be carefully isolated or blanked off before any demolitions or stripping out may start |  | 0
25 | 1574 | 2 | 1 | 69 |  | 60 |  | The tenderer must bear in mind that any of the plant, piping etc that the tenderer wants to salvage and sell off, is at his own risk and any shortfall that occurs will be for his own account and no claim whatsoever will be entertained in this regard |  | 0
26 | 1575 | 2 | 1 | 69 |  | 60 |  | Definitions | H3 | 0
27 | 1576 | 2 | 1 | 69 |  | 60 |  | The descriptions and units of quantities below are measured generally in terms of the Standard Systems of Measuring Builders Work with changes to suit this project. Where these descriptions and units are in conflict with the payment provisions of SABS 1200, the descriptions and units as measured below shall apply and no claim in this regard will be entertained. Should the tenderer have any queries, he should clarify same with the quantity surveyor prior to submission of tender. Silence on any issue will be deemed to be accepted thereof |  | 0
28 | 1577 | 2 | 1 | 70 |  | 61 |  | Removal from site | H3 | 0
29 | 1578 | 2 | 1 | 70 |  | 61 |  | Where "remove from" or "spoil" occurs in terms, it shall include for all loading and carting away from the site to a suitable dumping site found by the contractor and the contractor shall pay all fees, etc., in this regard |  | 0
30 | 1579 | 2 | 1 | 70 |  | 61 |  | Explosives | H3 | 0
31 | 1580 | 2 | 1 | 70 |  | 61 |  | No explosives whatsoever may be used in demolitions |  | 0
32 | 1581 | 2 | 1 | 70 |  | 61 |  | Bulking | H3 | 0
33 | 1582 | 2 | 1 | 70 |  | 61 |  | No allowance has been made in the measurements for bulking and no claims in this regard will be entertained |  | 0
34 | 1583 | 2 | 1 | 70 |  | 61 |  | Programme | H3 | 0
35 | 1584 | 2 | 1 | 70 |  | 61 |  | The contractor shall carry out the whole of the work with as little mess and noise as possible and with a minimum of disturbance to adjoining premises and their tenants. He shall provide proper protection and provide and erect any temporary tarpaulins and temporary plumbing that may be necessary during the progress of the works, all to the satisfaction of the principal agent, and remove when directed. |  | 0
36 | 1652 | 2 | 1 | 70 |  |  |  | SITE CLEARANCE ETC | H2 | 0
37 | 1653 | 2 | 1 | 70 |  |  |  | Site clearance | H3 | 0
38 | 1654 | 2 | 1 | 70 | 1 |  |  | Clear and grub site including the removal from the site of all rubble, rubbish, debris, vegetation, hedges, shrubs, bushes, trees, etc as well as any structures and spoil to dumping site, dig up all roots from site and backfill where necessary | m² | 6912 |  | 0
39 | 1655 | 2 | 1 | 70 | 2 |  |  | Remove existing tree exceeding 200 mm and not exceeding 500 mm girth, grub up roots and fill hole with ground | No | 5 |  | 0
40 | 1656 | 2 | 1 | 70 | 3 |  |  | Remove existing tree stump not exceeding 1 m girth, grub up roots and fill hole with ground | No | 2 |  | 0
41 | 284 | 2 | 1 | 70 |  |  |  | TEMPORARY BARRIERS, SCREENS, ETC | H2 | 0
42 | 285 | 2 | 1 | 71 |  |  |  | External hoarding | H3 | 0
43 | 286 | 2 | 1 | 71 | 4 | 67.1 |  | 1.8m high Diamond Mesh Fence (Not 0,5mm Thick galvanised corrugated steel sheeting fixed to timber frame including all necessary concrete footings, posts, etc. complete including removal of hoarding on completion) | m² | 1586 |  | 0
44 | 263 | 2 | 1 | 71 |  |  |  | DEMOLITIONS | H2 | 0
45 | 264 | 2 | 1 | 71 |  |  |  | Taking out and removing existing parking surafce, etc. | H3 | 0
46 | 265 | 2 | 1 | 71 | 5 |  |  | Break up and remove existing tarmac, including sub-layers, etc. | m² | 4230 |  | 0
47 | 1419 | 2 | 1 | 71 | 6 |  |  | Demolition and removal of existing buildings and other structures (Make reference to drawings, demolishing methodology and a compulsory site inspection) | No | 1 |  | 0
48 | 1585 | 2 | 1 | 71 |  | 62 |  | DEMOLISHING/ REMOVAL OF EXISTING WORK | H2 | 0
49 | 1586 | 2 | 1 | 71 |  | 62 |  | Breaking up and removing unreinforced concrete and prepare surface to receive new finish | H3 | 0
50 | 1587 | 2 | 1 | 71 | 7 | 62.7 |  | Steps | m³ | 16 |  | 0
51 | 1588 | 2 | 1 | 71 | 8 | 62.8 |  | Ramps | m³ | 4 |  | 0
52 | 1589 | 2 | 1 | 71 | 9 | 62.9 |  | 250mm Thick internal raised floor including 100mm thick surface bed on and including 150mm thick earth filling, dowel bars, mild steel corner protectors, one brick retaining wall, removed all complete to Principal Agents approval. | m² | 19 |  | 0
53 | 1590 | 2 | 1 | 71 |  | 63 |  | Breaking up and removing reinforced concrete, including cutting off, removing reinforcement in | H3 | 0
54 | 1591 | 2 | 1 | 71 |  | 63 |  | Note: Crash deck, propping, necessary support work and protection of existing building must be priced for in Section 1: Preliminaries & General of this document. |  | 0
55 | 1592 | 2 | 1 | 71 | 10 | 63.1 |  | Existing strip footings in trench and hole excavations (measured elsewhere) | m³ | 7 |  | 0
56 | 1593 | 2 | 1 | 72 | 11 | 63.11 |  | Columns, including excavations in compacted filling material average 800mm deep, backfilling and reinstatement of surface bed or layerwork below paving (measured elsewhere). | m³ | 11 |  | 0
57 | 1595 | 2 | 1 | 72 |  | 64 |  | Break down and remove precast concrete and parapet wall | H3 | 0
58 | 1598 | 2 | 1 | 72 | 12 | 64.22 |  | Pre-cast concrete coping on external parapet walls | m² | 651 |  | 0
59 | 1597 | 2 | 1 | 72 |  | 64 |  | Breaking down and removing brickwork, including finishes etc | H3 | 0
60 | 1599 | 2 | 1 | 72 | 13 | 64.23 |  | Half brick walls | m² | 124 |  | 0
61 | 1600 | 2 | 1 | 72 | 14 | 64.24 |  | One brick walls | m² | 355 |  | 0
62 | 1601 | 2 | 1 | 72 |  | 64 |  | Taking out and removing doors, windows, etc, including thresholds, sills, etc (from brickwork to be demolished elsewhere measured), incl making good finishes | H3 | 0
63 | 1602 | 2 | 1 | 72 | 15 | 64.29 |  | Timber single door and steel frame not exceeding 2.5m2 | No | 5 |  | 0
64 | 1603 | 2 | 1 | 72 |  | 65 |  | Taking out and removing doors, etc, including thresholds, sills, etc from brickwork | H3 | 0
65 | 1604 | 2 | 1 | 72 | 16 | 65.3 |  | Timber single door and steel frame, from cubicles, not exceeding 2.5m2 | No | 15 |  | 0
66 | 1605 | 2 | 1 | 72 | 17 | 65.31 |  | Timber double leaf door and steel frame, exceeding 2.5m2 and not exceeding 5.0m2 | No | 2 |  | 0
67 | 1607 | 2 | 1 | 72 |  | 65 |  | Taking out and removing doors, windows, etc | H3 | 0
68 | 1608 | 2 | 1 | 72 | 18 | 65.33 |  | Timber single door leaf only, not exceeding 2.5m2, and prepare frame for new door | No | 10 |  | 0
69 | 1609 | 2 | 1 | 72 |  | 65 |  | Taking out and removing aluminium shopfronts, including support structure, thresholds, sills, etc (from brickwork to be demolished elsewhere measured) | H3 | 0
70 | 1610 | 2 | 1 | 72 | 19 | 65.34 |  | Shopfronts complete (maximum 2.4m high) | m | 3 |  | 0
71 | 1611 | 2 | 1 | 72 | 20 | 65.35 |  | Shopfronts complete (maximum 3.5m high) | m | 6 |  | 0
72 | 1612 | 2 | 1 | 73 |  | 65 |  | Taking down and removing roofs, floors, panelling, ceilings, partitions, etc | H3 | 0
73 | 1613 | 2 | 1 | 73 | 21 | 65.39 |  | Suspended 600 x 600mm mild steel open grid ceiling, including lights, hangers etc. (Work to be done after normal working hours) | m² | 250 |  | 0
74 | 1614 | 2 | 1 | 73 | 22 | 65.4 |  | Suspended vinyl ceilings, including lights, hangers etc. | m² | 155 |  | 0
75 | 1615 | 2 | 1 | 73 | 23 | 66.41 |  | Suspended flush plastered ceilings, including lights, hangers etc. | m² | 360 |  | 0
76 | 1616 | 2 | 1 | 73 | 24 | 66.42 |  | Drywall partitions including finishes, etc. | m² | 55 |  | 0
77 | 1619 | 2 | 1 | 73 | 25 | 66.51 |  | 165 x 1.5m High steel cladded canopy including support structure, light and all cabling, all complete to Principal Agent's approval | No | 1 |  | 0
78 | 1621 | 2 | 1 | 73 |  | 67 |  | Taking out and removing sundry joinery work: | H3 | 0
79 | 1622 | 2 | 1 | 73 | 26 | 67.54 |  | 600mm Wide vanity counter including steel angle frame support, etc. all complete. (Removal of basins measured elsewhere) | m | 45 |  | 0
80 | 1623 | 2 | 1 | 73 |  | 67 |  | Taking out and removing sundry metalwork | H3 | 0
81 | 1624 | 2 | 1 | 73 | 27 | 67.66 |  | Palisade fencing 1.8m high . including steel posts and foundations, gates, etc., all complete. | m | 515 |  | 0
82 | 1625 | 2 | 1 | 73 |  | 68 |  | Taking up and removing external paved surfaces and kerbing | H3 | 0
83 | 1626 | 2 | 1 | 73 | 28 | 68.82 |  | 200 x 150mm Paving blocks, including sub-layers etc., stack pavers neatly on a designated area on site to be re used. | m² | 1109 |  | 0
84 | 1627 | 2 | 1 | 73 |  | 69 |  | Hacking up/off and removing ceramic tile floor and wall finishes including removing mortar bed or backing and preparing concrete or brick surfaces for new screed, plaster or tile finishes | H3 | 0
85 | 1628 | 2 | 1 | 73 | 29 | 69.85 |  | Tiles to floors | m² | 210 |  | 0
86 | 1629 | 2 | 1 | 73 | 30 | 69.87 |  | Tiles to walls | m² | 60 |  | 0
87 | 1630 | 2 | 1 | 73 | 31 | 69.88 |  | Tile skirtings 100mm high | m | 136 |  | 0
88 | 1631 | 2 | 1 | 74 |  | 69 |  | Taking out and removing existing sanitary fittings, and prepare to receive new fittings (elsewhere) | H3 | 0
89 | 1632 | 2 | 1 | 74 | 32 | 69.9 |  | Remove existing WHB from vanities (elsewhere) | No | 25 |  | 0
90 | 1633 | 2 | 1 | 74 | 33 | 69.91 |  | Remove existing WC | No | 15 |  | 0
91 | 1634 | 2 | 1 | 74 | 34 | 69.92 |  | Remove existing urinals | No | 5 |  | 0
92 | 1635 | 2 | 1 | 74 |  | 69 |  | Taking out and removing existing sanitary fittings, and keep aside, to be relocated to a new positition (new position to be determined on site) | H3 | 0
93 | 1636 | 2 | 1 | 74 | 35 | 69.93 |  | Fire extinguisher including wall bracket, wooden backing board, complete. | No | 2 |  | 0
94 | 1637 | 2 | 1 | 74 |  | 71 |  | MAKING GOOD OF FINISHES ETC | H2 | 0
95 | 1638 | 2 | 1 | 74 |  | 71 |  | Making good flush plastered ceilings including horizontal bulkheads, vertical bulkheads, suspension grid, hangers, etc | H3 | 0
96 | 1639 | 2 | 1 | 74 | 36 | 71.107 |  | Ceilings in patches | m² | 150 |  | 0
97 | 1640 | 2 | 1 | 74 |  | 71 |  | Making good internal cement plaster | H3 | 0
98 | 1641 | 2 | 1 | 74 | 37 | 71.109 |  | Walls where one brick walls removed | m | 15 |  | 0
99 | 1642 | 2 | 1 | 74 | 38 | 71.11 |  | Walls where half brick walls removed | m | 22 |  | 0
100 | 1643 | 2 | 1 | 74 |  | 71 |  | Reinstate previously removed paving blocks stacked on site and make good layerworks, etc. | H3 | 0
101 | 1644 | 2 | 1 | 74 | 39 | 71.112 |  | 200 x 150mm Paving blocks in patches where brick walls, piers and columns were built | m² | 100 |  | 0
102 | 1645 | 2 | 1 | 74 |  | 72 |  | OPENINGS THROUGH EXISTING WALLS ETC | H2 | 0
103 | 1646 | 2 | 1 | 75 |  | 72 |  | Breaking out for and forming openings through brick walls for new doors and frames including necessary precast concrete lintels and making good plaster on both sides and into reveals and with concrete thresholds with steel trowelled finish (new doors and frames and making good paintwork elsewhere) | H3 | 0
104 | 1647 | 2 | 1 | 75 | 40 | 72.115 |  | Form 3.0 x 2.6m opening in one brick wall for new shopfront (elsewhere) | No | 3 |  | 0
106 | 1366 | 2 | 2 | 77 |  | 52 |  | SECTION NO. 2 | H1 | 0
107 | 1367 | 2 | 2 | 77 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
108 | 1368 | 2 | 2 | 77 |  | 52 |  | BILL NO. 2 | H1 | 0
109 | 1369 | 2 | 2 | 77 |  | 52 |  | EARTHWORKS | H1 | 0
110 | 1370 | 2 | 2 | 77 |  | 52 |  | PREAMBLES | H2 | 0
111 | 1371 | 2 | 2 | 77 |  | 52 |  | For preambles see Model Preambles for Trades and Supplementary Preambles as specified in the trades |  | 0
112 | 1372 | 2 | 2 | 77 |  | 52 |  | SUPPLEMENTARY PREAMBLES | H2 | 0
113 | 1373 | 2 | 2 | 77 |  | 52 |  | Nature of ground | H3 | 0
114 | 1374 | 2 | 2 | 77 |  | 52 |  | A soils investigation has been carried out on site by the engineer and the report is available on request. Descriptions of excavations shall be deemed to include all ground conditions classifiable as "earth" described in the above report and where conditions of a more difficult character are indicated these are separately measured |  | 0
115 | 1375 | 2 | 2 | 77 |  | 52 |  | Carting away of excavated material | H3 | 0
116 | 1376 | 2 | 2 | 77 |  | 52 |  | Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site |  | 0
117 | 1389 | 2 | 2 | 77 |  |  |  | BULK EXCAVATION, FILLING, ETC | H2 | 0
118 | 1390 | 2 | 2 | 77 |  |  |  | Excavations, filling, etc | H3 | 0
119 | 1391 | 2 | 2 | 77 | 1 |  |  | Cut to spoil, dumpsite to be determined by contractor | m³ | 441 |  | 0
120 | 1392 | 2 | 2 | 77 | 2 |  |  | Cut to stockpile | m³ | 346 |  | 0
121 | 1393 | 2 | 2 | 77 | 3 |  |  | Cut to fill and compact in layers not exceeding 150mm thick to 93% mod AASHTO density to platforms (Fill material to comply with at least Type G8 material) | m³ | 345 |  | 0
122 | 1421 | 2 | 2 | 78 | 4 |  |  | Imported fill and compact in layers not exceeding 150mm thick to 93% mod AASHTO density to platforms (Fill material to comply with at least Type G8 material) | m³ | 94 |  | 0
123 | 1394 | 2 | 2 | 78 |  |  |  | Sundry excavations | H3 | 0
124 | 1395 | 2 | 2 | 78 | 5 |  |  | Extra over all excavations at all depths in all materials for excavations in hard rock | m³ | 162 |  | 0
125 | 1396 | 2 | 2 | 78 |  | 52 |  | EXCAVATION, FILLING, ETC OTHER THAN BULK | H2 | 0
126 | 1397 | 2 | 2 | 78 |  | 53 |  | Excavation in earth not exceeding 2m deep | H3 | 0
127 | 1398 | 2 | 2 | 78 | 6 | 53.2 |  | Trenches | m³ | 99 |  | 0
128 | 1399 | 2 | 2 | 78 | 7 |  |  | Holes | m³ | 187 |  | 0
129 | 1401 | 2 | 2 | 78 |  | 53 |  | Extra over trench and hole excavations in earth for excavation in | H3 | 0
130 | 1402 | 2 | 2 | 78 | 8 | 53.7 |  | Soft rock | m³ | 55 |  | 0
131 | 1403 | 2 | 2 | 78 | 9 | 53.8 |  | Hard rock | m³ | 26 |  | 0
132 | 1404 | 2 | 2 | 78 |  | 53 |  | Extra over all excavations for carting away | H3 | 0
133 | 1405 | 2 | 2 | 78 | 10 | 53.9 |  | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m³ | 448 |  | 0
134 | 1406 | 2 | 2 | 78 |  | 53 |  | Risk of collapse of excavations | H3 | 0
135 | 1407 | 2 | 2 | 78 | 11 | 53.1 |  | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 296 |  | 0
136 | 1408 | 2 | 2 | 78 |  | 53 |  | Keeping excavations free of water | H3 | 0
137 | 1409 | 2 | 2 | 78 | 12 | 53.12 |  | Keeping excavations free of all water other than subterranean water | Item | 1 |  | 0
138 | 1410 | 2 | 2 | 78 |  | 54 |  | Earth filling obtained from the excavations and/or prescribed stock piles on site compacted to 93% Mod AASHTO density | H3 | 0
139 | 1411 | 2 | 2 | 78 | 13 | 54.13 |  | Backfilling to trenches, holes, etc | m³ | 187 |  | 0
140 | 1412 | 2 | 2 | 79 |  |  |  | Compaction of surfaces | H3 | 0
141 | 1413 | 2 | 2 | 79 | 14 | 71.3 |  | Rip up, scarify and re-compact bulk earthworks level to a depth of 150mm, shape and grade to correct falls and compact to 95% MOD. AASHTO density. | m² | 7704 |  | 0
142 | 1414 | 2 | 2 | 79 |  | 54 |  | SOIL POISONING | H2 | 0
143 | 1415 | 2 | 2 | 79 |  | 54 |  | Soil insecticide | H3 | 0
144 | 1416 | 2 | 2 | 79 | 15 | 54.21 |  | Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m² | 7267 | 5 | 36335
145 | 1417 | 2 | 2 | 79 | 16 | 54.22 |  | To bottoms and sides of trenches etc | m² | 4673 | 5 | 23365
147 | 42 | 2 | 3 | 81 |  | 57 |  | SECTION NO. 2 | H1 | 0
148 | 43 | 2 | 3 | 81 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
149 | 44 | 2 | 3 | 81 |  | 57 |  | BILL NO. 3 | H1 | 0
150 | 45 | 2 | 3 | 81 |  | 57 |  | CONCRETE, FORMWORK AND REINFORCEMENT | H1 | 0
151 | 46 | 2 | 3 | 81 |  | 57 |  | PREAMBLES | H2 | 0
152 | 47 | 2 | 3 | 81 |  | 57 |  | For preambles see Model Preambles for Trades and Supplementary Preambles as specified in the trades |  | 0
153 | 48 | 2 | 3 | 81 |  | 57 |  | SUPPLEMENTARY PREAMBLES | H2 | 0
154 | 49 | 2 | 3 | 81 |  | 57 |  | Project specification | H3 | 0
155 | 50 | 2 | 3 | 81 |  | 57 |  | 3.2.1 Cement blends other than ordinary Portland cement shall be used only after approval by the engineer. |  | 0
156 | 51 | 2 | 3 | 81 |  | 57 |  | 4.5 Back propping of formwork to soffits of slabs and beams may not be removed until the concrete beams and slabs following above have reached sufficient strength to the entire satisfaction of the engineer. Price for formwork must include for propping as no claim in this regard will be considered |  | 0
157 | 52 | 2 | 3 | 81 |  | 57 |  | 6 Tolerance | H3 | 0
158 | 53 | 2 | 3 | 81 |  | 57 |  | Tolerance shall be based on Accuracy Degree II |  | 0
159 | 54 | 2 | 3 | 82 |  | 57 |  | Cost of tests | H3 | 0
160 | 55 | 2 | 3 | 82 |  | 57 |  | The costs of making, storing and testing of concrete test cubes as required under clause 7 "Tests" of SABS 1200 G shall include the cost of providing cube moulds necessary for the purpose, for testing costs and for submitting reports on the tests to the architect. The testing shall be undertaken by an independent firm or institution nominated by the contractor to the approval of the architect. (Test cubes are measured separately) |  | 0
161 | 56 | 2 | 3 | 82 |  | 58 |  | Formwork | H3 | 0
162 | 57 | 2 | 3 | 82 |  | 58 |  | Description of formwork shall be deemed to include use and waste only (except where described as "left in" or "permanent"), for fitting together in the required forms, wedging, plumbing and fixing to true angles and surfaces as necessary to ensure easy release during stripping and for reconditioning as necessary before re-use |  | 0
163 | 58 | 2 | 3 | 82 |  | 58 |  | The vertical strutting shall be carried down to such construction as is sufficiently strong to afford the required support without damage and shall remain in position until the newly constructed work is able to support itself. |  | 0
164 | 59 | 2 | 3 | 82 |  | 58 |  | Formworks to soffits of solid etc shall be deemed to be slabs not exceeding 250mm thick unless otherwise described |  | 0
165 | 60 | 2 | 3 | 82 |  | 58 |  | Formwork to sides of bases, pile caps, ground beams, etc will only be measured where it is prescribed by the engineer for design reasons. Formwork necessitated by irregularity or collapse of excavated faces will not be measured and the cost thereof shall be deemed to be included in the allowance for taking the risk of collapse of the sides of the excavations, provision for which is made in "Earthworks" |  | 0
166 | 61 | 2 | 3 | 82 |  | 58 |  | UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES | H2 | 0
167 | 62 | 2 | 3 | 82 |  | 58 |  | Mass concrete 10MPa/19mm stone | H3 | 0
168 | 63 | 2 | 3 | 82 | 1 | 58.1 |  | Surface blinding under footings and bases | m³ | 62 |  | 0
169 | 65 | 2 | 3 | 83 |  | 58 |  | REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES | H2 | 0
170 | 66 | 2 | 3 | 83 |  | 59 |  | 25MPa/19mm concrete | H3 | 0
171 | 67 | 2 | 3 | 83 | 2 | 59.7 |  | Strip footings | m³ | 96 |  | 0
172 | 68 | 2 | 3 | 83 | 3 | 59.8 |  | Bases | m³ | 51 |  | 0
173 | 307 | 2 | 3 | 83 | 4 |  |  | Surface beds | m³ | 256 |  | 0
174 | 70 | 2 | 3 | 83 |  | 59 |  | REINFORCED CONCRETE | H2 | 0
175 | 75 | 2 | 3 | 83 |  | 59 |  | 30MPa/19mm concrete | H3 | 0
176 | 1559 | 2 | 3 | 83 | 5 |  |  | Retaining wall | m³ | 150 |  | 0
177 | 77 | 2 | 3 | 83 | 6 |  |  | Columns | m³ | 89 |  | 0
178 | 1449 | 2 | 3 | 83 | 7 |  |  | Beams | m³ | 21 |  | 0
179 | 1450 | 2 | 3 | 83 | 8 |  |  | Stairs | m³ | 14 |  | 0
180 | 78 | 2 | 3 | 83 |  | 60 |  | TEST BLOCKS | H2 | 0
181 | 79 | 2 | 3 | 83 | 9 | 60.28 |  | Allow for preparing a set of six concrete strength test cubes, each size 150 x 150 x 150 mm, sending them to an approved independent testing laboratory for testing and paying all charges in connection therewith | Sets | 45 |  | 0
182 | 80 | 2 | 3 | 83 |  | 60 |  | CONCRETE SUNDRIES | H2 | 0
183 | 81 | 2 | 3 | 83 |  | 60 |  | FINISHING TOP SURFACE OF CONCRETE | H2 | 0
184 | 82 | 2 | 3 | 83 |  | 60 |  | Finishing top surfaces of concrete smooth with a wood float | H3 | 0
185 | 84 | 2 | 3 | 83 | 10 | 60.34 |  | Tops of beams, walls, etc, | m² | 158 |  | 0
186 | 305 | 2 | 3 | 83 |  |  |  | Finishing top surfaces of concrete smooth with a power float | H3 | 0
187 | 83 | 2 | 3 | 83 | 11 | 60.32 |  | Surface beds, slabs, etc | m² | 2005 |  | 0
188 | 86 | 2 | 3 | 83 |  | 61 |  | ROUGH FORMWORK (DEGREE OF ACCURACY III) | H2 | 0
189 | 87 | 2 | 3 | 84 |  | 61 |  | Rough formwork to | H3 | 0
190 | 88 | 2 | 3 | 84 | 12 | 61.4 |  | Rectangular columns in foundations | m² | 102 |  | 0
191 | 1467 | 2 | 3 | 84 |  |  |  | Rough formwork exceeding 3.5 and not exceeding 5m high above bearing level, to | H3 | 0
192 | 325 | 2 | 3 | 84 | 13 |  |  | Rectangular columns | m² | 399 |  | 0
193 | 92 | 2 | 3 | 84 |  | 61 |  | SMOOTH FORMWORK (DEGREE OF ACCURACY II) | H2 | 0
194 | 101 | 2 | 3 | 84 |  | 62 |  | Smooth formwork exceeding 3.5 and not exceeding 5m high above bearing level, to | H3 | 0
195 | 97 | 2 | 3 | 84 | 14 |  |  | Upstand Beams | m² | 52 |  | 0
196 | 99 | 2 | 3 | 84 | 15 |  |  | Edges, risers, ends and reveals not exceeding 300mm high | m | 125 |  | 0
197 | 1463 | 2 | 3 | 84 | 16 | 61.47 |  | Sloping and stepped outer edges of stairs 350mm high extreme | m | 88 |  | 0
198 | 1465 | 2 | 3 | 84 | 17 |  |  | Landings not exceeding 250mm thick | m² | 45 |  | 0
199 | 1466 | 2 | 3 | 84 | 18 | 61.46 |  | Stairs with sloping soffits | m² | 56 |  | 0
200 | 105 | 2 | 3 | 84 |  | 65 |  | MOVEMENT JOINTS, ETC. | H2 | 0
201 | 111 | 2 | 3 | 84 |  | 65 |  | Saw cut joints | H3 | 0
202 | 112 | 2 | 3 | 84 | 19 | 65.101 |  | 5 x 40mm Saw cut joints in top of concrete | m | 1081 |  | 0
203 | 113 | 2 | 3 | 84 |  | 66 |  | REINFORCEMENT | H2 | 0
204 | 116 | 2 | 3 | 84 |  |  |  | Mild steel and high tensile steel reinforcement in structural concrete | H3 | 0
205 | 117 | 2 | 3 | 84 | 20 | 129.76 |  | All diameter rods | t | 38.8 |  | 0
206 | 123 | 2 | 3 | 84 |  | 66 |  | Fabric reinforcement | H3 | 0
207 | 124 | 2 | 3 | 84 | 21 |  |  | Type 311 mesh fabric reinforcement in concrete surface beds, plinths, slabs, etc | m² | 3484 |  | 0
209 | 1328 | 2 | 4 | 86 |  |  |  | SECTION NO. 2 | H1 | 0
210 | 137 | 2 | 4 | 86 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
211 | 138 | 2 | 4 | 86 |  | 69 |  | BILL NO. 3 | H1 | 0
212 | 139 | 2 | 4 | 86 |  | 69 |  | MASONRY | H1 | 0
213 | 140 | 2 | 4 | 86 |  | 69 |  | PREAMBLES | H2 | 0
214 | 141 | 2 | 4 | 86 |  | 69 |  | For preambles see Model Preambles for Trades and Supplementary Preambles as specified in the trades |  | 0
215 | 142 | 2 | 4 | 86 |  | 69 |  | SUPPLEMENTARY PREAMBLES | H2 | 0
216 | 143 | 2 | 4 | 86 |  | 69 |  | BRICKWORK | H2 | 0
217 | 144 | 2 | 4 | 86 |  | 69 |  | Sizes in descriptions | H3 | 0
218 | 145 | 2 | 4 | 86 |  | 69 |  | Where sizes in descriptions are given in brick units, "one brick" shall represent the length and "half brick" the width of a brick |  | 0
219 | 146 | 2 | 4 | 86 |  | 69 |  | Hollow walls etc | H3 | 0
220 | 147 | 2 | 4 | 86 |  | 69 |  | Descriptions of hollow walls shall be deemed to include leaving every fifth perpend of the bottom course of the external skin open as a weep hole. |  | 0
221 | 148 | 2 | 4 | 86 |  | 69 |  | Face bricks | H3 | 0
222 | 149 | 2 | 4 | 86 |  | 69 |  | Bricks shall be ordered timeously to obtain uniformity in size and colour |  | 0
223 | 150 | 2 | 4 | 86 |  | 69 |  | Pointing | H3 | 0
224 | 151 | 2 | 4 | 86 |  | 69 |  | Descriptions of recessed pointing to fair face brickwork and face brickwork shall be deemed to include square recessed, hollow recessed, weathered pointing, etc |  | 0
225 | 152 | 2 | 4 | 87 |  | 70 |  | Joints | H3 | 0
226 | 153 | 2 | 4 | 87 |  | 70 |  | A 10mm clean joint must be left between the top surfaces of internal brick walls and the soffits of concrete slabs. Care must be taken to assure that no mortat, pieces of brick or any other objects exist in the joint |  | 0
227 | 154 | 2 | 4 | 87 |  | 70 |  | Wire ties | H3 | 0
228 | 155 | 2 | 4 | 87 |  | 70 |  | Descriptions of brickwork shall be deemed to include wire ties |  | 0
229 | 156 | 2 | 4 | 87 |  |  |  | FOUNDATIONS | H2 | 0
230 | 157 | 2 | 4 | 87 |  |  |  | Brickwork of NFX bricks (14 MPa nominal compressive strength) in class I mortar | H3 | 0
231 | 298 | 2 | 4 | 87 | 1 |  |  | One brick walls | m² | 419 |  | 0
232 | 161 | 2 | 4 | 87 |  | 70 |  | SUPERSTRUCTURE | H2 | 0
233 | 162 | 2 | 4 | 87 |  | 70 |  | Brickwork in approved burnt clay bricks bedded and jointed in mortar, in | H3 | 0
234 | 163 | 2 | 4 | 87 | 2 | 70.2 |  | Half brick walls | m² | 281 |  | 0
235 | 164 | 2 | 4 | 87 | 3 | 70.6 |  | One brick walls | m² | 1817 |  | 0
236 | 165 | 2 | 4 | 87 | 4 |  |  | 600mm Hollow walls of two half brick skins including galvanised vertical twist ties(five ties per square metre) | m² | 170 |  | 0
237 | 168 | 2 | 4 | 87 |  | 71 |  | BRICKWORK SUNDRIES | H2 | 0
238 | 169 | 2 | 4 | 87 |  | 71 |  | Sundry brickwork | H3 | 0
239 | 170 | 2 | 4 | 87 | 5 | 71.14 |  | Splayed mortar fillet two courses high in 110mm cavity | m | 47 |  | 0
240 | 171 | 2 | 4 | 87 | 6 |  |  | Closing 110mm cavity of hollow wall horizontally with two courses of brickwork | m | 35 |  | 0
241 | 1461 | 2 | 4 | 87 | 7 |  |  | Closing 50mm cavity of hollow wall vertically with brickwork half brick wide | m | 32 |  | 0
242 | 416 | 2 | 4 | 88 |  |  |  | Bagging of 1:3 cement and sand mixture, to | H3 | 0
243 | 417 | 2 | 4 | 88 | 8 |  |  | Brick surfaces | m² | 80 |  | 0
244 | 176 | 2 | 4 | 88 |  | 71 |  | Joint forming material in movement joints | H3 | 0
245 | 177 | 2 | 4 | 88 | 9 | 71.2 |  | 15mm Bitumen impregnated fibre board built in vertically through brick walls | m² | 168 |  | 0
246 | 178 | 2 | 4 | 88 |  | 71 |  | Brickwork reinforcement | H3 | 0
247 | 179 | 2 | 4 | 88 | 10 | 71.21 |  | 75mm Wide reinforcement built in horizontally | m | 1237 |  | 0
248 | 180 | 2 | 4 | 88 | 11 |  |  | 150mm Wide reinforcement built in horizontally | m | 6833 |  | 0
249 | 182 | 2 | 4 | 88 |  | 71 |  | Galvanised hoop iron cramps, ties, etc | H3 | 0
250 | 183 | 2 | 4 | 88 | 12 |  |  | 30 x 1,6mm Wall tie 500mm long with one end shot pinned to concrete and other end built into brickwork | No | 421 |  | 0
251 | 184 | 2 | 4 | 88 |  | 71 |  | Fabcon or similar approved prestressed fabricated lintels | H3 | 0
252 | 185 | 2 | 4 | 88 | 13 | 71.24 |  | 110 x 75mm Lintels in lengths not exceeding 3m | m | 154 |  | 0
253 | 1462 | 2 | 4 | 88 | 14 |  |  | 110 x 75mm Lintels in lengths exceeding 4.5m and not exceeding 6m long | m | 139 |  | 0
254 | 1457 | 2 | 4 | 88 |  |  |  | FACE BRICKWORK | H2 | 0
255 | 1458 | 2 | 4 | 88 |  | 61 |  | CorobrikÂ® 20-30MPa Silvergrey Travertine Imperial FBX clay face brick, size 222 x 106 x 73mm, manufactured in accordance with SANS 227:2007, bedded and jointed in Class II mortar and pointed with recessed vertical and recessed horizontal joints, suitable for exposure zones 1-2. Internal skin to be Clay stock bricks built stretcher bond walls to receive 15mm smooth plaster finish. Brickwork is to be constructed using good building practice and using brick force at every 4th course.¦H3¦0.0¦¦¦19/05/2017 10:12:34¦
256 | 1459 | 2 | 4 | 88 | 15 |  |  | Extra over brickwork for face brickwork | m² | 1125 |  | 0
257 | 1460 | 2 | 4 | 88 | 16 |  |  | Extra over brickwork for face brickwork in foundations (Provisional) | m² | 293 |  | 0
259 | 188 | 2 | 5 | 90 |  | 74 |  | SECTION NO. 2 | H1 | 0
260 | 189 | 2 | 5 | 90 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
261 | 190 | 2 | 5 | 90 |  | 74 |  | BILL NO. 4 | H1 | 0
262 | 191 | 2 | 5 | 90 |  | 74 |  | WATERPROOFING | H1 | 0
263 | 192 | 2 | 5 | 90 |  | 74 |  | PREAMBLES | H2 | 0
264 | 193 | 2 | 5 | 90 |  | 74 |  | For preambles see Model Preambles for Trades and Supplementary Preambles as specified in the trades |  | 0
265 | 194 | 2 | 5 | 90 |  | 74 |  | SUPPLEMENTARY PREAMBLES | H2 | 0
266 | 195 | 2 | 5 | 90 |  | 74 |  | Waterproofing | H3 | 0
267 | 196 | 2 | 5 | 90 |  | 74 |  | Waterproofing of roofs, basements, etc shall be laid under a ten year guarantee. Waterproofing to roofs shall be laid to even falls to outlets etc with necessary ridges, hips and valleys. Descriptions of sheet or membrane waterproofing shall be deemed to include additional labour to turn-ups and turn-downs |  | 0
268 | 197 | 2 | 5 | 90 |  | 74 |  | DAMP-PROOFING OF WALLS AND FLOORS | H2 | 0
269 | 198 | 2 | 5 | 90 |  | 74 |  | One layer of 375 micron "Consol Plastics Brikgrip DPC" embossed damp proof course | H3 | 0
270 | 199 | 2 | 5 | 90 | 1 | 74.1 |  | In walls | m² | 331 |  | 0
271 | 200 | 2 | 5 | 90 |  | 74 |  | One layer of 250 micron "Consol Plastics Gunplas USB Green" waterproof sheeting sealed at laps with "Gunplas Pressure Sensitive Tape" | H3 | 0
272 | 201 | 2 | 5 | 90 | 2 | 74.2 |  | Under surface beds | m² | 3054 |  | 0
273 | 210 | 2 | 5 | 90 |  | 75 |  | JOINT SEALANTS ETC | H2 | 0
274 | 211 | 2 | 5 | 90 |  | 75 |  | Approved two-part grey polyurethane sealing compound including backing cord, bond breaker, primer, etc | H3 | 0
275 | 213 | 2 | 5 | 90 | 3 |  |  | 5 x 40mm in saw cut joints in floors | m | 432 |  | 0
277 | 365 | 2 | 6 | 91 |  | 77 |  | SECTION NO. 2 | H1 | 0
278 | 366 | 2 | 6 | 91 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
279 | 367 | 2 | 6 | 91 |  | 77 |  | BILL NO. 5 | H1 | 0
280 | 368 | 2 | 6 | 91 |  | 77 |  | CARPENTRY AND JOINERY | H1 | 0
281 | 369 | 2 | 6 | 91 |  | 77 |  | PREAMBLES | H2 | 0
282 | 370 | 2 | 6 | 91 |  | 77 |  | For preambles see Model Preambles for Trades and Supplementary Preambles as specified in the trades |  | 0
283 | 371 | 2 | 6 | 91 |  | 77 |  | SUPPLEMENTARY PREAMBLES | H2 | 0
284 | 372 | 2 | 6 | 91 |  | 77 |  | Doors | H3 | 0
285 | 373 | 2 | 6 | 91 |  | 77 |  | Flush doors with rebated meeting stiles to have hard wood edge strips to meeting stiles not less than 19mm thick Hardboard and veneer coverings to doors will be suitable to receive paint or varnish All doors to be equivalent to samples to be submitted to the architect for approval |  | 0
286 | 374 | 2 | 6 | 91 |  | 77 |  | Particle board: | H3 | 0
287 | 375 | 2 | 6 | 91 |  | 77 |  | Particle board shall comply with the following specifications: a) SABS 1300 Particle board: exterior and flooring type b) SABS 1301 Particle board: interior type |  | 0
288 | 376 | 2 | 6 | 91 |  | 77 |  | Joinery: | H3 | 0
289 | 377 | 2 | 6 | 91 |  | 77 |  | Descriptions of frames shall be deemed to include frames, transomes, mullions, rails, etc |  | 0
290 | 378 | 2 | 6 | 91 |  | 77 |  | Descriptions of hardwood joinery shall be deemed to include pelleting of bolt holes |  | 0
291 | 379 | 2 | 6 | 92 |  | 77 |  | Fixing | H3 | 0
292 | 380 | 2 | 6 | 92 |  | 77 |  | Items described as "nailed" shall be deemed to be fixed with hardened steel nails or shot pins to brickwork or concrete |  | 0
293 | 381 | 2 | 6 | 92 |  | 78 |  | Decorative laminate finish: | H3 | 0
294 | 382 | 2 | 6 | 92 |  | 78 |  | Laminate finish shall be glued under pressure. Edge strips shall be butt jointed at junctions with adjacent similar finish |  | 0
295 | 410 | 2 | 6 | 92 |  | 78 |  | DOORS, ETC | H2 | 0
296 | 411 | 2 | 6 | 92 |  |  |  | 40mm Thick semi-solid core flush panel door leaf with exposed hardwood edges, including 450mm x 450mm aluminium ventilation louvre in door hung to steel frames | H3 | 0
297 | 412 | 2 | 6 | 92 | 1 |  |  | Door 813 x 2032mm high | No | 7 |  | 0
298 | 1445 | 2 | 6 | 92 |  |  |  | 40mm Thick single flush meranti timber door leaf, finish to both sides as per architects spec hung to timber frames | H3 | 0
299 | 1446 | 2 | 6 | 92 | 2 |  |  | Door 859 x 2465mm high | No | 17 |  | 0
300 | 1447 | 2 | 6 | 92 |  |  |  | 40mm Thick semi-solid core flush panel door leaf with exposed hardwood edges hung to timber frames | H3 | 0
301 | 1448 | 2 | 6 | 92 | 3 |  |  | Door 600 x 2125mm high | No | 26 |  | 0
302 | 1452 | 2 | 6 | 92 |  |  |  | TIMBER FRAMES, ETC | H2 | 0
303 | 1453 | 2 | 6 | 92 |  |  |  | Nominal 76mm x 53mm single rebated hardwood timber frame, frame to be undercut by 150mm | H3 | 0
304 | 1454 | 2 | 6 | 92 | 4 |  |  | Timber frame for 859mm x 2465mm door | No | 17 |  | 0
305 | 1455 | 2 | 6 | 92 |  |  |  | Nominal 76mm x 53mm Hardwood timber frame to suit single semi-solid core flush panel door with exposed hardwood edges. All in accordance with manufacturer's instructions | H3 | 0
306 | 1456 | 2 | 6 | 92 | 5 |  |  | Timber frame for 600mm x 2125mm door | No | 26 |  | 0
308 | 387 | 2 | 7 | 94 |  | 28 |  | SECTION NO. 2 | H1 | 0
309 | 388 | 2 | 7 | 94 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
310 | 389 | 2 | 7 | 94 |  | 28 |  | BILL NO. 6 | H1 | 0
311 | 390 | 2 | 7 | 94 |  | 28 |  | IRONMONGERY | H1 | 0
312 | 391 | 2 | 7 | 94 |  | 28 |  | PREAMBLES | H2 | 0
313 | 392 | 2 | 7 | 94 |  | 28 |  | For preambles see "General Specification and Model Preambles for Trades" and applicable additional preambles as specified in the trades |  | 0
314 | 393 | 2 | 7 | 94 |  | 23 |  | SUPPLEMENTARY PREAMBLES | H2 | 0
315 | 394 | 2 | 7 | 94 |  | 83 |  | NOTE | H2 | 0
316 | 395 | 2 | 7 | 94 |  | 83 |  | The supply of ironmongery to be FIXED ONLY, has been measured elsewhere under : Provisional Sums and Prime Cost Amounts |  | 0
317 | 396 | 2 | 7 | 94 |  |  |  | IRONMONGERY | H2 | 0
318 | 397 | 2 | 7 | 94 |  | 83 |  | Take delivery of and FIX ONLY, oil and ease the following items of ironmongery | H3 | 0
319 | 399 | 2 | 7 | 94 | 1 | 84.17 |  | Emergency exit covered turn | No | 8 |  | 0
320 | 400 | 2 | 7 | 94 | 2 |  |  | Back to back pullhandles | Pairs | 26 |  | 0
321 | 409 | 2 | 7 | 94 | 3 |  |  | Single cylinder lockset | No | 29 |  | 0
322 | 401 | 2 | 7 | 94 | 4 | 83.9 |  | Kick plate | No | 10 |  | 0
323 | 402 | 2 | 7 | 94 | 5 | 84.28 |  | Door closer | No | 4 |  | 0
324 | 403 | 2 | 7 | 94 | 6 | 83.3 |  | Door stop screwed to and including hard wood plug to concrete floor or brick walls | No | 25 |  | 0
325 | 404 | 2 | 7 | 94 | 7 | 83.7 |  | Push plate | No | 13 |  | 0
327 | 215 | 2 | 8 | 95 |  | 87 |  | SECTION NO. 2 | H1 | 0
328 | 216 | 2 | 8 | 95 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
329 | 217 | 2 | 8 | 95 |  | 87 |  | BILL NO. 7 | H1 | 0
330 | 218 | 2 | 8 | 95 |  | 87 |  | METALWORK | H1 | 0
331 | 219 | 2 | 8 | 95 |  | 87 |  | PREAMBLES | H2 | 0
332 | 220 | 2 | 8 | 95 |  | 87 |  | For preambles see Model Preambles for Trades and Supplementary Preambles as specified in the trades |  | 0
333 | 221 | 2 | 8 | 95 |  | 87 |  | SUPPLEMENTARY PREAMBLES | H2 | 0
334 | 222 | 2 | 8 | 95 |  | 87 |  | Descriptions | H3 | 0
335 | 223 | 2 | 8 | 95 |  | 87 |  | Descriptions of bolts shall be deemed to include nuts and washers |  | 0
336 | 224 | 2 | 8 | 95 |  | 87 |  | Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete |  | 0
337 | 225 | 2 | 8 | 95 |  | 87 |  | Metalwork described as"holed for bolt(s)" shall be deemed to exclude the bolts unless otherwise described |  | 0
338 | 226 | 2 | 8 | 95 |  | 87 |  | PRESSED STEEL DOOR FRAMES | H2 | 0
339 | 227 | 2 | 8 | 95 |  | 87 |  | 1,6mm thick double rebated steel frames suitable for one brick walls | H3 | 0
340 | 228 | 2 | 8 | 95 | 1 | 87.4 |  | Frame for door 813 x 2032mm high | No | 7 |  | 0
342 | 232 | 2 | 9 | 96 |  | 93 |  | SECTION NO. 2 | H1 | 0
343 | 233 | 2 | 9 | 96 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
344 | 234 | 2 | 9 | 96 |  | 93 |  | BILL NO. 8 | H1 | 0
345 | 235 | 2 | 9 | 96 |  | 93 |  | PLASTERING | H1 | 0
346 | 236 | 2 | 9 | 96 |  | 93 |  | PREAMBLES | H2 | 0
347 | 237 | 2 | 9 | 96 |  | 93 |  | For preambles see Model Preambles for Trades and Supplementary Preambles as specified in the trades |  | 0
348 | 238 | 2 | 9 | 96 |  | 93 |  | SCREEDS | H2 | 0
349 | 239 | 2 | 9 | 96 |  | 93 |  | Cement plaster screeds steel trowelled on concrete | H3 | 0
350 | 240 | 2 | 9 | 96 | 1 | 93.1 |  | 30mm Thick on floors and landings | m² | 1266 |  | 0
351 | 242 | 2 | 9 | 96 | 2 |  |  | 50 x 50 mm Triangular fillets at junction of screeds with walls | m | 350 |  | 0
352 | 243 | 2 | 9 | 96 |  | 93 |  | INTERNAL PLASTER | H2 | 0
353 | 244 | 2 | 9 | 96 |  | 93 |  | One coat cement plaster on brickwork | H3 | 0
354 | 245 | 2 | 9 | 96 | 3 | 93.1 |  | On walls | m² | 2213 |  | 0
355 | 248 | 2 | 9 | 96 |  | 94 |  | One coat cement plaster on concrete | H3 | 0
356 | 250 | 2 | 9 | 96 |  | 94 |  | EXTERNAL PLASTER | H2 | 0
357 | 251 | 2 | 9 | 96 |  | 94 |  | One coat cement plaster on brickwork | H3 | 0
358 | 252 | 2 | 9 | 96 | 4 | 94.23 |  | On walls | m² | 3090 |  | 0
359 | 259 | 2 | 9 | 96 |  |  |  | One coat cement plaster on concrete | H3 | 0
360 | 260 | 2 | 9 | 96 | 5 |  |  | On columns | m² | 285 |  | 0
362 | 335 | 2 | 10 | 97 |  | 97 |  | SECTION NO. 2 | H1 | 0
363 | 336 | 2 | 10 | 97 |  |  |  | PROVISIONAL BILLS OF QUANTITIES | H1 | 0
364 | 337 | 2 | 10 | 97 |  | 97 |  | BILL NO. 9 | H1 | 0
365 | 338 | 2 | 10 | 97 |  | 97 |  | PAINTWORK | H1 | 0
366 | 339 | 2 | 10 | 97 |  | 97 |  | PREAMBLES | H2 | 0
367 | 340 | 2 | 10 | 97 |  | 97 |  | For preambles see Model Preambles for Trades and Supplementary Preambles as specified in the trades |  | 0
368 | 341 | 2 | 10 | 97 |  | 97 |  | ON FLOATED PLASTER | H2 | 0
369 | 342 | 2 | 10 | 97 |  | 81 |  | One coat "Dulux Duraseal" alkali resistant primer and one coat quality PVA emulsion paint | H3 | 0
370 | 343 | 2 | 10 | 97 | 1 | 81.1 |  | On internal walls. | m² | 3434 |  | 0
371 | 344 | 2 | 10 | 97 | 2 |  |  | On internal columns | m² | 285 |  | 0
372 | 418 | 2 | 10 | 97 | 3 |  |  | On bagging | m² | 115 |  | 0
373 | 345 | 2 | 10 | 97 |  | 81 |  | One coat primer and two coats "Dulux Weatherguard Ultrasmooth" paint or similar approved paint | H3 | 0
374 | 346 | 2 | 10 | 97 | 4 | 81.1 |  | On external walls. | m² | 7425 |  | 0
375 | 349 | 2 | 10 | 97 |  |  |  | ON CONCRETE | H2 | 0
376 | 350 | 2 | 10 | 97 |  | 97 |  | One coat primer and two coats "Dulux Trade 65 Matt PVA" paint | H3 | 0
377 | 351 | 2 | 10 | 97 | 5 |  |  | On cladded vertical concrete | m² | 200 |  | 0
378 | 352 | 2 | 10 | 97 |  | 97 |  | ON WOOD | H2 | 0
379 | 353 | 2 | 10 | 97 |  | 97 |  | One coat wood primer and two coats "Dulux Pearglo" water based eggshell enamel | H3 | 0
380 | 354 | 2 | 10 | 97 | 6 | 97.6 |  | On doors | m² | 349 |  | 0
381 | 1451 | 2 | 10 | 98 | 7 | 98.9 |  | On door frames | m² | 160 |  | 0
382 | 357 | 2 | 10 | 98 |  | 97 |  | ON METAL | H2 | 0
383 | 358 | 2 | 10 | 98 |  | 98 |  | One coat self-etching primer, one undercoat and two coats "Dulux Pearglo" water based eggshell enamel paint | H3 | 0
384 | 360 | 2 | 10 | 98 | 8 | 98.9 |  | On door frames | m² | 66 |  | 0
385 | 361 | 2 | 10 | 98 | 9 | 98.1 |  | On gates, grilles, burglar screens, louvers, balustrades, etc. (both sides measured over full flat area) | m² | 67 |  | 0
387 | 5 | 2 | 11 | 100 | 1 |  |  | DEMOLITIONS | Page | 76 | 0
388 | 1365 | 2 | 11 | 100 | 2 |  |  | EARTHWORKS | Page | 80 | 0
389 | 41 | 2 | 11 | 100 | 3 |  |  | CONCRETE, FORMWORK & REINFORCING | Page | 85 | 0
390 | 136 | 2 | 11 | 100 | 4 |  |  | MASONRY | Page | 89 | 0
391 | 187 | 2 | 11 | 100 | 5 |  |  | WATERPROOFING | Page | 90 | 0
392 | 364 | 2 | 11 | 100 | 6 |  |  | CARPENTRY AND JOINERY | Page | 93 | 0
393 | 386 | 2 | 11 | 100 | 7 |  |  | IRONMONGERY | Page | 94 | 0
394 | 214 | 2 | 11 | 100 | 8 |  |  | METALWORK | Page | 95 | 0
395 | 231 | 2 | 11 | 100 | 9 |  |  | PLASTERING | Page | 96 | 0
396 | 334 | 2 | 11 | 100 | 10 |  |  | PAINTWORK | Page | 99 | 0
397 | 289 | 3 | 1 | 101 |  | 175 |  | SECTION NO. 3 | H1 | 0
398 | 290 | 3 | 1 | 101 |  | 175 |  | BILL NO. 1 | H1 | 0
399 | 291 | 3 | 1 | 101 |  | 175 |  | PROVISIONAL AMOUNTS | H1 | 0
400 | 292 | 3 | 1 | 101 |  | 175 |  | CASH DISCOUNT The following provisional amounts are NET and represent the NET COST of the work described. The contractor shall not be entitled to any discount, percentage or allowance whatsoever on the value of any provisional amount other than the priced value for profit and attendance as provided for. The provisional amounts may be deducted in whole or in part from the contract and are subject to adjustment upon completion |  | 0
401 | 293 | 3 | 1 | 101 |  | 175 |  | PROVISIONAL SUMS AND PRIME COST AMOUNTS These provisional amounts contain materials to be supplied only or to be supplied and installed by specialists, or work to be executed by specialists or other persons who are selected by the contractor in consultation with the architect. Selected sub-contractors shall receive no other rights or privileges other than the rights and privileges enjoyed by any domestic sub-contractor |  | 0
402 | 294 | 3 | 1 | 101 |  | 175 |  | BUDGETARY ALLOWANCES This work will be priced and measured in accordance with these bills of quantities |  | 0
403 | 419 | 3 | 1 | 101 |  | 85 |  | PROVISIONAL SUMS | H2 | 0
404 | 420 | 3 | 1 | 101 |  | 181 |  | Aluminium shopfronts | H3 | 0
405 | 421 | 3 | 1 | 101 | 1 | 181.4 |  | Allow a sum of R 300,000.00 (Three Hundred Thousand Rand) for aluminium shopfronts installation | Item | 1 | 300000 | 300000
406 | 422 | 3 | 1 | 101 | 2 | 181.6 |  | Profit on last if required | %IT
407 | 423 | 3 | 1 | 101 | 3 | 181.5 |  | Attendance on sub-contractor | %IT
408 | 1425 | 3 | 1 | 102 |  | 182 |  | Ceilings and Bulkheads | H3 | 0
409 | 1426 | 3 | 1 | 102 | 4 | 182.25 |  | Allow the sum of R 446,000.00 (Four Hundred and Sixty Six Thousand Rand) for the Ceilings and Bulkheads Installation | Item | 1 | 466000 | 466000
410 | 1427 | 3 | 1 | 102 | 5 | 182.18 |  | Profit on last if required | %IT
411 | 1428 | 3 | 1 | 102 | 6 | 182.17 |  | Attendance on sub-contractor | %IT
412 | 1657 | 3 | 1 | 102 |  | 182 |  | Coldrooms and Freezers (Roots) | H3 | 0
413 | 1658 | 3 | 1 | 102 | 7 | 182.25 |  | Allow the sum of R 150,000.00 (One Hundred and Fifty Thousand Rand) for the Coldrooms and freezers Installation | Item | 1 | 150000 | 150000
414 | 1659 | 3 | 1 | 102 | 8 |  |  | Profit on last if required | %IT
415 | 1660 | 3 | 1 | 102 | 9 |  |  | Attendance on sub-contractor | %IT
416 | 424 | 3 | 1 | 102 |  | 182 |  | Electrical installation | H3 | 0
417 | 425 | 3 | 1 | 102 | 10 | 182.25 |  | Allow the sum of R 3,400,000 (Three Million, Four Hundred and Fifty Thousand Rand) for the electrical installation | Item | 1 | 3400000 | 3400000
418 | 426 | 3 | 1 | 102 | 11 | 182.18 |  | Profit on last if required | %IT
419 | 427 | 3 | 1 | 102 | 12 | 182.17 |  | Attendance on sub-contractor | %IT
420 | 428 | 3 | 1 | 102 |  | 182 |  | External architectural finishes | H3 | 0
421 | 429 | 3 | 1 | 102 | 13 | 182.25 |  | Allow the sum of R 100,000.00 (One Hundred Thousand Rand) for the external architectural finishes | Item | 1 | 100000 | 100000
422 | 430 | 3 | 1 | 102 | 14 | 182.18 |  | Profit on last if required | %IT
423 | 431 | 3 | 1 | 102 | 15 | 182.17 |  | Attendance on sub-contractor | %IT
424 | 432 | 3 | 1 | 102 |  | 182 |  | External Parking and Paving | H3 | 0
425 | 433 | 3 | 1 | 102 | 16 | 182.28 |  | Allow the sum of R 2,750,000.00 (Two Million, Seven Hundred and Fifty Thousand Rand) for the external paving and parking installation | Item | 1 | 2750000 | 2750000
426 | 434 | 3 | 1 | 102 | 17 | 182.18 |  | Profit on last if required | %IT
427 | 435 | 3 | 1 | 103 | 18 | 182.17 |  | Attendance on sub-contractor | %IT
428 | 436 | 3 | 1 | 103 |  | 182 |  | Fencing and Gates | H3 | 0
429 | 437 | 3 | 1 | 103 | 19 | 182.28 |  | Allow the sum of R 165,000.00 (One Hundred and Sixty Five Thousand Rand) for the fencing and gates installation | Item | 1 | 165000 | 165000
430 | 438 | 3 | 1 | 103 | 20 | 182.18 |  | Profit on last if required | %IT
431 | 439 | 3 | 1 | 103 | 21 | 182.17 |  | Attendance on sub-contractor | %IT
432 | 440 | 3 | 1 | 103 |  | 182 |  | Fire Services | H3 | 0
433 | 441 | 3 | 1 | 103 | 22 | 182.28 |  | Allow the sum of R 600.000 (Six Hundred and Ninty Thousand Rand) for the fire services installation | Item | 1 | 600000 | 600000
434 | 470 | 3 | 1 | 103 | 23 |  |  | Profit on last if required | %IT
435 | 471 | 3 | 1 | 103 | 24 |  |  | Attendance on sub-contractors | %IT
436 | 468 | 3 | 1 | 103 |  |  |  | Fire Signage | H3 | 0
437 | 469 | 3 | 1 | 103 | 25 |  |  | Allow the sum of R20,000.00 (Twenty Thousand Rand) for the fire signage installation | Item | 1 | 20000 | 20000
438 | 442 | 3 | 1 | 103 | 26 | 182.18 |  | Profit on last if required | %IT
439 | 443 | 3 | 1 | 103 | 27 | 182.17 |  | Attendance on sub-contractor | %IT
440 | 1429 | 3 | 1 | 103 |  | 189 |  | Tiling | H3 | 0
441 | 1430 | 3 | 1 | 103 | 28 | 189.124 |  | Allow the sum of R 385 000.00 (Three Hundred and Eighty Five Thousand Rand) for Tiling | Item | 1 | 385000 | 385000
442 | 1431 | 3 | 1 | 103 | 29 | 182.18 |  | Profit on last if required | %IT
443 | 1432 | 3 | 1 | 103 | 30 | 182.17 |  | Attendance on sub-contractor | %IT
444 | 444 | 3 | 1 | 103 |  | 184 |  | Landscaping and Planters | H3 | 0
445 | 445 | 3 | 1 | 103 | 31 | 184.58 |  | Allow the sum of R 150,000.00 (One Hundred and Fifty Thousand Rand) for landscaping installation | Item | 1 | 150000 | 150000
446 | 446 | 3 | 1 | 103 | 32 | 182.18 |  | Profit on last if required | %IT
447 | 447 | 3 | 1 | 104 | 33 | 182.17 |  | Attendance on sub-contractor | %IT
448 | 1433 | 3 | 1 | 104 |  |  |  | Mechanical Installation | H3 | 0
449 | 1434 | 3 | 1 | 104 | 34 |  |  | Allow the sum of R 1,250,000.00 (One Million, Two Hundred and Fifty Thousand Rand) for Mechanical installation | Item | 1 | 1250000 | 1250000
450 | 1435 | 3 | 1 | 104 | 35 |  |  | Profit on last if required | %IT
451 | 1436 | 3 | 1 | 104 | 36 |  |  | Attendance on sub-contractor | %IT
452 | 448 | 3 | 1 | 104 |  | 186 |  | Plumbing and drainage | H3 | 0
453 | 449 | 3 | 1 | 104 | 37 | 186.79 |  | Allow the sum of R 695,000.00 (Six Hundred and Ninty Five Thousand Rand) for plumbing and drainage installation | Item | 1 | 695000 | 695000
454 | 450 | 3 | 1 | 104 | 38 | 182.18 |  | Profit on last if required | %IT
455 | 451 | 3 | 1 | 104 | 39 | 182.17 |  | Attendance on sub-contractor | %IT
456 | 452 | 3 | 1 | 104 |  |  |  | Roofsheeting and Insulation | H3 | 0
457 | 453 | 3 | 1 | 104 | 40 |  |  | Allow the sum of R 770,000.00 (Seven Hundred and Seventy Thousand Rand) for roof sheeting and insulation installation | Item | 1 | 770000 | 770000
458 | 466 | 3 | 1 | 104 | 41 |  |  | Profit on last if required | %IT
459 | 455 | 3 | 1 | 104 | 42 |  |  | Attendance on sub-contractor | %IT
460 | 1440 | 3 | 1 | 104 |  | 189 |  | Roller Shutter Installation | H3 | 0
461 | 1442 | 3 | 1 | 104 | 43 | 189.124 |  | Allow the sum of R 280, 000.00 (Two Hundred and Eighty Thousand) for Roller Shutter Installation | Item | 1 | 280000 | 280000
462 | 1443 | 3 | 1 | 104 | 44 | 182.18 |  | Profit on last if required | %IT
463 | 1441 | 3 | 1 | 104 | 45 | 182.17 |  | Attendance on sub-contractor | %IT
464 | 464 | 3 | 1 | 104 |  |  |  | External Building Signage | H3 | 0
465 | 465 | 3 | 1 | 104 | 46 |  |  | Allow the sum of R 115,000.00 (One Hundred and Fifteen Thousand Rand) for signage installation | Item | 1 | 115000 | 115000
466 | 454 | 3 | 1 | 104 | 47 |  |  | Profit on last if required | %IT
467 | 467 | 3 | 1 | 105 | 48 |  |  | Attendance on sub-contractor | %IT
468 | 456 | 3 | 1 | 105 |  | 189 |  | Structural steelwork | H3 | 0
469 | 457 | 3 | 1 | 105 | 49 | 189.124 |  | Allow the sum of R 2,800,000.00 (Two Million, Eight Hundred Thousand Rand) for structural steelwork installation | Item | 1 | 2800000 | 2800000
470 | 458 | 3 | 1 | 105 | 50 | 182.18 |  | Profit on last if required | %IT
471 | 459 | 3 | 1 | 105 | 51 | 182.17 |  | Attendance on sub-contractor | %IT
472 | 460 | 3 | 1 | 105 |  | 189 |  | Sundry Metalwork | H3 | 0
473 | 461 | 3 | 1 | 105 | 52 | 189.13 |  | Allow the sum of R 260,000.00 (Two Hundred and Sixty Thousand Rand) for sundry metalwork installation | Item | 1 | 260000 | 260000
474 | 462 | 3 | 1 | 105 | 53 | 182.18 |  | Profit on last if required | %IT
475 | 463 | 3 | 1 | 105 | 54 | 182.17 |  | Attendance on sub-contractor | %IT
476 | 1329 | 3 | 1 | 105 |  | 189 |  | Guard House and Boom Gate | H3 | 0
477 | 1330 | 3 | 1 | 105 | 55 | 189.13 |  | Allow the sum of R 150,000.00 (Three Hundred and Fifty Thousand Rand) for Guard House and Boom Gate | Item | 1 | 150000 | 150000
478 | 1331 | 3 | 1 | 105 | 56 | 182.18 |  | Profit on last if required | %IT
479 | 1332 | 3 | 1 | 105 | 57 | 182.17 |  | Attendance on sub-contractor | %IT
480 | 1469 | 3 | 1 | 105 |  | 189 |  | Gate | H3 | 0
481 | 1470 | 3 | 1 | 105 | 58 | 189.13 |  | Allow the sum of R 100,000.00 (One Hundred Thousand Rand) for Turnstile Gate | Item | 1 | 100000 | 100000
482 | 1471 | 3 | 1 | 105 | 59 | 182.18 |  | Profit on last if required | %IT
483 | 1472 | 3 | 1 | 105 | 60 | 182.17 |  | Attendance on sub-contractor | %IT
484 | 296 | 3 | 1 | 105 |  | 175 |  | BUDGETARY ALLOWANCES | H2 | 0
485 | 310 | 3 | 1 | 105 | 61 |  |  | Allow the budgetary amount of R75,000.00 (Seventy Five Thousand Rand) for Ironmongery | Item | 1 | 75000 | 75000
486 | 1468 | 3 | 1 | 105 | 62 |  |  | Allow the budgetary amount of R4,575,000.00 (Four Million Five Hundred and Seventy Five Thousand Rand) for Bulk Earthworks | Item | 1 | 4575000 | 4575000
487 | 1560 | 3 | 1 | 106 | 63 |  |  | Allow the budgetary amount of R500,000.00 (Five Hundred Thousand Rand) for special scaffolding | Item | 1 | 500000 | 500000
488 | 1561 | 3 | 1 | 106 | 64 |  |  | Allow the budgetary amount of R375,000.00 (Three Hundred and Seventy Five Thousand Rand) for Ablution Upgrade | Item | 1 | 375000 | 375000
489 | 1649 | 3 | 1 | 106 | 65 |  |  | Allow tenant allowance amount of R450,000.00 (Four Hundred and Fifty Thousand Rand) for Roots | Item | 1 | 450000 | 450000
490 | 1650 | 3 | 1 | 106 | 66 |  |  | Allow tenant allowance amount of R750,000.00 (Seven Hundered and Fifty Thousand Rand) for DIY and Motor Spare | Item | 1 | 750000 | 750000
491 | 1651 | 3 | 1 | 106 | 67 |  |  | Allow tenant allowance amount of R250,000.00 (Two Hundred and Fifty Thousand Rand) for KFC | Item | 1 | 250000 | 250000
493 | 1 | 4 | 1 | 108 | 1 |  |  | Preliminaries | Page | 67 | 0
494 | 4 | 4 | 1 | 108 | 2 |  |  | Provisional Bill of Quantities | Page | 100 | 0
495 | 287 | 4 | 1 | 108 | 3 |  |  | Provisional Sums | Page | 107 | 0
496 | 1437 | 4 | 1 | 108 |  | 182 |  | SUB-TOTAL | ST | 0 |  | Sub Total
497 | 1439 | 4 | 1 | 108 |  | 182 |  | ADD : 14% VAT RATE# | TAX | 14